Options for the HIGH-SPEED TURBO DOOR, type “EFA-STT® CR”

Surface

- Powder coating of all galvanised steel parts in a colour according to RAL __________ (pearl, luminous and metallic colours not possible)

- Powder coating of the aluminium posts in a colour according to RAL _______

If steel parts as well as aluminium parts are be coated in the same RAL colour, minor 	deviations in colour may occur which cannot be fully avoided due to the different surface 	structures. The supplier, however, will make the best possible efforts to keep deviations in 	colour as small as possible through influencing the degree of gloss.

- stainless steel version (V2A) of all visible steel parts, visible surface polished, coarseness 220, incl. switch board made of V2A, incl. guide rollers with V2A bearings, e.g. for wet operations

Door leaf

- Surcharge for door leaf filling of single-walled, non-transparent plastic (colour: aluminium-grey)

- Surcharge for door leaf filling of single-walled, transparent and impact resistant polycarbonate.

Safety

- As alternative to the photo cell and contact bar our TÜV approved light-line grid (EFA-TLG®) can be used. It is installed in a fully protected way in the closing line and its infrared beams generate a very dense light curtain up to 2.5m. Obstacles are detected without contact and the automatic closing movement immediately stops.

- Max. 2 photo cells in door frame, radars and active infrared sensor element for safety

Activator and displays:

- clean room-compatible pressure switch (AP or UP), pull switch, radars

- contact-less proximity switch

- red/green LED traffic light, clean room version

GMP clean room air lock

Delivery and assembly of 2 high-speed roll-up doors to the prepared substructure in a clean room air lock with interlocking.