OPTIONS for high-speed spiral door, type “EFA-SST®-LAS”:

High-speed

OPENING SPEED:	up to approx. 1.5 m/s

Max. DOOR LEAF SPEED:	up to approx. 2.0 m/s

(depending on door height)

CLOSING SPEED:	up to approx. 0.75 m/s

Surface of the steel parts

Powder coating of all galvanised steel parts in a colour according to RAL __________

(pearl, luminous and metallic colours not possible)

Safety limit switch

Query of the lower door leaf end position via safety limit switch category IV

Spiral covers

made of galvanised steel sheet for:

- the bottom and the front

- the top